## G600
EVENT_DESC | ERROR_CODE | ERROR_LEVEL
Channel port blocking | 2120xx | Moderate
AL_PA value conflict | 2190xx | Service
Link failure1 | 2193xx | Serious
Link failure2 | 2194xx | Serious
SFP wrong type | 21a8xx | Moderate
SFP TxFault | 21aaxx | Moderate
External storage system connection path blocking | 21d0xx | Moderate
External storage system connection path restore | 21d1xx | Service
External storage system path response timeout | 21d2xx | Service
CHK1A threshold over | 3070xy | Service
CHK1B threshold over | 3071xy | Service
CHK3 threshold over | 3072xy | Service
Processor blocking | 3073xy | Moderate
CFM Failure | 30750x | Moderate
Incorrect SUM value of FM | 3076xy | Service
Processor memory temporary error | 3077xy | Service
BFM error | 30780x | Serious
Unified Hypervisor blocking | 307b0x | Moderate
WCHK1 dump collected | 3080xy | Moderate
P/S OFF impossible | 388f00 | Moderate
P/S OFF impossible (Device reserved) | 389f00 | Moderate
Undefined Processor is mounted | 3990xy | Moderate
V-R or serial number is inconsistent | 3991xy | Moderate
Replace failed | 3993xy | Moderate
MP patrol check error | 39b0xy | Service
LDEV Blockade (Effect of micro code error) | 3a0xyy | Moderate
Backup/restore SM Information failed | 6100xx | Moderate
CHB blocking | 2130xx | Moderate
DKB blocking | 2140xx | Moderate
CHB/DKB/CTL Type disagreement | 3c9500 | Moderate
No CHB mounted | 3c9600 | Moderate
iSCSI firmware update warning | 3c97xx | Moderate
Acquisition failure of the outside encryption key | 661000 | Moderate
Encryption key setting abnormality | 6620xx | Serious
SAS CTL blocking | cf10xx | Moderate
SAS PORT (WideLink) is partially blocked | cf11xx | Service
SAS PORT blocked | cf12xx | Moderate
SAS CTL Error Detection | cf13xx | Serious
ENC Temporary Failure | cf14xx | Service
CTL blocking | cf880x | Moderate
CTL blockade due to CTL interconnect path failure | cf8a0x | Moderate
LANB blocking | ff210x | Moderate
CFM patrol check error | ffccxy | Moderate
GUM blocking | fff70x | Moderate
Injustice DC voltage control | 399d0x | Moderate
Injustice CEMODE | 399e0x | Moderate
Injustice CEDT | 399f0x | Moderate
Unjust jumper setting warning | af000x | Moderate
MP temperature abnormality warning | af100x | Moderate
External temperature warning | af110x | Moderate
External temperature alarm | af120x | Moderate
Thermal monitor warning | af130x | Moderate
DKCPSU warning | af200x | Moderate
DKCPS input voltage Abnormality | af210x | Moderate
Environmental microcomputer warning | af300x | Moderate
Storage system operation mode warning | af310x | Moderate
Environment FW update warning | af320x | Moderate
Abnormal voltage change setting | af330x | Moderate
BKM/BKMF warning | af400x | Moderate
Battery replacement should be scheduled | af410x | Moderate
CHBB environmental microcontroller warning | af42xx | Moderate
CHBB environmental firmware update warning | af44xx | Moderate
SWPK temperature warning | af46xx | Moderate
CHBB voltage change failure warning | af48xx | Moderate
CHBBPS warning | af4a0x | Moderate
CHBBPS abnormal input voltage | af4b0x | Moderate
CHBBFAN warning | af4c0x | Moderate
Panel switch warning | af4d0x | Moderate
Invalid PS ON warning | af4e0x | Moderate
DBPS failed | af50xx | Moderate
Abnormal DBPS input voltage | af60xx | Moderate
DB External temperature Warning | af7000 | Moderate
DB External temperature Alarm | af7100 | Moderate
ENC failed | af80xx | Moderate
Life expiry warning for DB air filter | afe4xx | Service
UPS failed | aff00x | Moderate
GUM warning | aff10x | Moderate
CFM Error | aff20x | Moderate
FAN warning | aff30x | Moderate
Life expiry warning for DKC air filter | aff400 | Service
PCIe cable connection error | effcxx | Moderate
Expander error | effdxx | Moderate
UNIT connection cable order error | effexx | Moderate
Part Installation Error | ffd400 | Moderate
Battery warning | fffa0x | Moderate
Forced volatilization warning | fffe0x | Moderate
Pinned slot | ff4xyy | Moderate
Area is volatilized | ffcd0x | Service
Data restoration error in the module group | ffcfyx | Service
Cache correctable error | fff0xx | Service
Area blocking | fff40x | Serious
Both area failed | fff50x | Moderate
Replace failed | fff90x | Serious
Cache Battery is being charged | fe0000 | Serious
End of Cache Write Through | fe010x | Service
Start of Cache Write Through | fe020x | Moderate
CFM type error or CFM shortage | fe030x | Serious
Mounting Battery shortage | fe040x | Serious
DIMM Installation mismatch | ffe800 | Acute
Cache package blockade processing end | ffc30x | Service
SM area blocking | ffe20x | Serious
Replace failed | ffe40x | Serious
Rebooted with volatilization after an instantaneous down | ffe700 | Serious
Recovery of area blocked temporarily was completed | ffea0x | Service
Area temporary blocking | ffee0x | Service
Rebooted without volatilization after an instantaneous down | ffef00 | Service
Drive port temporary error | df6xxx | Service
Drive port temporary error | df7xxx | Service
Drive temporary error | efaxxx | Service
Drive media error | 434xxx | Service
Drive port blockade | df8xxx | Moderate
Drive port blockade | df9xxx | Moderate
LDEV blockade | dfaxxx | Serious
LDEV blockade | dfbxxx | Serious
Abnormal drive Link rate | dfcxxx | Serious
Abnormal drive Link rate | dfdxxx | Serious
Response late Drive | dffxxx | Service
Drive blockade (drive) | ef0xxx | Serious
Drive blockade (drive) | ef1xxx | Serious
Drive blockade(Effect of Drive Copy normal end) | ef2xxx | Service
Pinned slot creation | ef4xyy | Moderate
LDEV blockade (Effect of drive blockade) | ef9xxx | Serious
Correction access occurrence | efcxxx | Serious
Reboot suspension by the excessive write pending data | efexxx | Service
Drive blockade (media) | 43bxxx | Serious
Drive blockade (media) | 43cxxx | Serious
Correction copy start | 451xxx | Service
Correction copy normal end | 452xxx | Service
Correction copy abnormal end | 453xxx | Serious
Correction copy discontinued | 454xxx | Service
Correction copy warning end | 455xxx | Service
Dynamic sparing start (Drive copy) | 461xxx | Service
Dynamic sparing normal end (Drive copy) | 462xxx | Service
Dynamic sparing abnormal end (Drive copy) | 463xxx | Moderate
Dynamic sparing discontinued (Drive copy) | 464xxx | Service
Dynamic sparing warning end (With blockade LDEV or some error) (Drive copy) (See | 465xxx | Service
Collection Copy/Copyback disabled(drive replace) (See | 468xxx | Moderate
Drive Copy/Correction Copy delay | 46axxx | Moderate
Flash module drive initialization failed | 4c4xxx | Moderate
Drive temporary error | 501xxx | Service
Drive media error | 502xxx | Service
Flash drive End of life | 50bxxx | Service
Flash module drive End of life | 50cxxx | Service
Flash module drive battery error (ORM) | 505xxx | Service
Flash module drive battery error | 508xxx | Moderate
Flash module drive battery warning | 50dxxx | Service
Flash module drive battery capacity shortage | 50exxx | Moderate
Flash module drive firmware version warning | 50f000 | Moderate
NAS Module blocking | 21500x | Moderate
NAS SFP type error | 2151xy | Moderate
NAS SFP module error | 2152xy | Moderate
PECB blocking | 2153xx | Moderate
SWPK blocking | 2154xx | Moderate
PECB warning | 2157xx | Moderate
Expander microprogram replacement failure | 4a80xx | Moderate
PDEV Erase Start | 4c1xxx | Servece
PDEV Erase Normal End | 4c2xxx | Service
PDEV Erase Abnormal End | 4c3xxx | Service
External storage system connection device blockade | efd000 | Serious
Abnormal end of Write processing in External storage system | ef5xyy | Moderate
Abnormal end of Read processing in External storage system | ff5xyy | Moderate
Cache overload condition | 491000 | Service
Format complete | 4100xx | Service
Quick Format finish | 410100 | Service
Audit Log lost | 180000 | Moderate
Detected a specific error code SSB | 1c0000 | Service
DB power off | ac50xx | Moderate
DB power recovered | ac51xx | Service
Controller Chassis was set to power errormode | ac6000 | Moderate
DKC was released from power error mode | ac6100 | Service
When Controller Chassis was set to power error mode, Urgent Destaging start succeeded | ac6200 | Service
When Controller Chassis was set to power error mode, Urgent Destaging start failed | ac6300 | Moderate
Server failure | ac8001 | Serious
License key has expired | 7ff7xx | Moderate
Allowed capacity was exceeded | 7ff8xx | Moderate
Program Product was invalidated due to expiration of premise Program Product | 7ff9xx | Moderate
CUDG detected error | 760000 | Moderate
TC started the initialcopy or out of sync for this volume | d00xyy | Service
TC completed the initial copy for this volume | d01xyy | Service
TC for this volume was deleted | d02xyy | Service
Status of the R-VOL is changed | d1zxyy | Service
TC for this volume was suspended (Due to an unrecoverable failure on the remote copy connections) | d40xyy | Serious
TC for this volume was suspended (Due to an unrecoverable failure on the M-VOL or the remote copy connections) | d41xyy | Serious
TC for this volume was suspended (Due to an unrecoverable failure on the R-VOL) | d42xyy | Serious
TC for this volume was suspended (Due to an internal error condition detected by the RCU) | d44xyy | Serious
TC for this volume was suspended (Caused by Delete pair operation was issued to the R-VOL) | d45xyy | Serious
The R-VOL has suspended (Due to an unrecoverable failure on the remote copy connections) | d46xyy | Serious
The R-VOL has suspended (Due to an unrecoverable failure on the R-VOL) | d47xyy | Serious
Status of the M-VOL was not consistent with the R-VOL | d4fxyy | Serious
Logical path(s) on the remote copy connections was logically blocked (Due to an error conditions) (See (22)) | 2180xx | Moderate
Differential area blocking (*1) | 4d1xyy | Serious
ShadowImage Copy abnormal end | 47dxyy | Moderate
Forcible suspend by SM volatile | 47e700 | Moderate
Volume Migration abnormal end | 47fxyy | Moderate
Forcible suspend by SM volatile | 47ec00 | Moderate
Thin Image Option abnormal end | 4b3xyy | Moderate
Warning for depletion of cache management devices | 670000 | Moderate
SI | 7ff102 | Service
TI | 7ff104 | Service
Volume Migration | 7ff106 | Service
Pool utilization threshold excess | 601xxx | Moderate
Pool blocking | 602xxx | Moderate
Shared Memory Space Warning | 603000 | Moderate
Exceeded Threshold of actual pool use rate (*1) | 604xxx | Moderate
Actual pool use rate reaches upper limit (*1) | 605xxx | Moderate
Exceeded Fixed outage Threshold of pool use rate (*1) | 606xxx | Moderate
Shared Memory Full | 624000 | Moderate
DP Pool Warning Threshold was exceeded | 620xxx | Moderate
DP Pool Full | 622xxx | Moderate
DP Pool error is detected | 623xxx | Moderate
Shared Memory Full (DP) | 624000 | Moderate
DP Pool threshold continues to be exceeded | 625000 | Moderate
DP Pool Depletion threshold was exceeded | 626xxx | Moderate
DP Pool LDEV blockade | 627xxx | Serious
DP Protect attribute setting of Data Retention Utility | 628000 | Serious
Exceeded Warning Threshold of DP Pool use rate (*1) | 629xxx | Moderate
Actual DP Pool use rate reaches upper limit (*1) | 62axxx | Moderate
Threshold of DP Pool use rate remains exceeded (*1) | 62b000 | Moderate
Exceeded Depletion Threshold of DP Pool use rate (*1) | 62cxxx | Moderate
Exceeded Fixed outage Threshold of DPPool use rate (*1) | 62dxxx | Moderate
TI pair DP pool exceeded depletion threshold | 62exxx | Moderate
Tier relocation is not complete | 641xxx | Service
No free encryption key | 660100 | Moderate
Remaining free encryption key warning | 660200 | Service
Acquisition of encryption key from KMS failed (*2) | 6610xx | Moderate
A volume to be used by the UR was defined | d80xyy | Service
The volume being used by the UR began a copying | d81xyy | Service
The volume being used by the UR completed a copying | d82xyy | Service
The volume being used by the UR received a request for suspension | d83xyy | Service
The volume being used by the UR completed a suspension transaction | d84xyy | Service
The volume being used by the UR received a request for deletion | d85xyy | Service
The volume being used by the UR completed the deletion | d86xyy | Service
The volume being used by the UR was defined (placed in the PSUS status immediately) | d87xyy | Service
A Delta volume to be used by the URMF/UR was defined | d88xyy | Service
A Delta volume to be used by the URMF/UR was redefine | d89xyy | Service
A change to an S-VOL was received from the MCU | d9zxyy | Service
A change to an S-VOL was received from the RCU | dazxyy | Service
A volume being used by a P-VOL was suspended (Path recovery was impossible) | dc0xyy | Serious
A volume being used by a P-VOL was suspended(A failure on the MCU side was detected) | dc1xyy | Serious
A volume being used by a P-VOL was suspended(Suspension of an S-VOL failure was detected) | dc2xyy | Serious
A volume being used by a P-VOL was suspended (Suspension of an S-VOL was detected) | dc4xyy | Serious
A volume being used by a P-VOL was suspended(Deletion of an S-VOL pair was detected) | dc5xyy | Serious
A volume being used by an S-VOL was suspended (Path recovery was impossible) | dc6xyy | Serious
A volume being used by an S-VOL was suspended(A failure on the RCU side was detected) | dc7xyy | Serious
A volume being used by an S-VOL was suspended (P/S OFF on the MCU side was detected) | dc8xyy | Service
A Delta volume being used by a P-VOL was suspended | dc9xyy | Service
Pair suspend (Spread by error of another Affiliate) | dcaxyy | Serious
UR M-JNL Meta FULL WARNING | dce0xx | Moderate
UR M-JNL Data FULL WARNING | dce1xx | Moderate
UR R-JNL Meta FULL WARNING | dce2xx | Moderate
UR R-JNL Data FULL WARNING | dce3xx | Moderate
The UR Read JNL was interrupted for one minute (A failure on the MCU side was detected) | dcf0xx | Moderate
The UR Read JNL was interrupted for one minute (A failure on the MCU side was detected) | dcf1xx | Serious
The UR Read JNL was interrupted for one minute (A failure on the RCU side was detected) | dcf2xx | Moderate
The UR Read JNL was interrupted for five minutes (A failure on the RCU side was detected) | dcf3xx | Serious
A volume being used by a GAD was suspended(Due to an unrecoverable failure on the remote copy connections) | dd0xyy | Serious
A volume being used by a GAD was suspended(volume failure) | dd1xyy | Serious
A volume being used by a GAD was suspended(Internal error failure) | dd2xyy | Serious
In GAD, the P-VOL status was not consistent with the S-VOL status | dd3xyy | Serious
Quorum Disk Restore | dee0xx | Service
Quorum Disk Blocked | def0xx | Serious
Unified Hypervisor failure (S/W failure) | e0000x | Serious
Unified Hypervisor partial failure (S/W failure) | e0060x | Serious
Unified Hypervisor failure (Boot disk access error) | e008x2 | Serious
Hypervisor Network Module failure | e0020x | Moderate
NASFW failure (Unified Hypervisor failure) | e001x2 | Serious
NASFW persistent failure | e0040x | Serious
NASFW failure (S/W failure) | e005x2 | Serious
NASFW boot failure (MBR corruption) | e007x2 | Serious
NASFW boot failure (during start up or maintenance) | e0090x | Serious
dedupe and compression operation error detection | 6800xx | Moderate

## G700
EVENT_DESC | ERROR_CODE | ERROR_LEVEL
Channel port blocking | 2120xx | Moderate
AL_PA value conflict | 2190xx | Service
Link failure1 | 2193xx | Serious
Link failure2 | 2194xx | Serious
SFP wrong type | 21a8xx | Moderate
SFP TxFault | 21aaxx | Moderate
External storage system connection path blocking | 21d0xx | Moderate
External storage system connection path restore | 21d1xx | Service
External storage system path response timeout | 21d2xx | Service
CHK1A threshold over | 3070xx | Service
CHK1B threshold over | 3071xx | Service
CHK3 threshold over | 3072xx | Service
Processor blocking | 3073xx | Moderate
CFM Failure | 30750x | Moderate
Incorrect SUM value of FM | 3076xy | Service
Processor memory temporary error | 3077xx | Service
BFM error | 30780x | Serious
WCHK1 dump collected | 3080xx | Moderate
P/S OFF impossible | 388f00 | Moderate
P/S OFF impossible (Device reserved) | 389f00 | Moderate
Undefined Processor is mounted | 3990xx | Moderate
V-R or serial number is inconsistent | 3991xx | Moderate
Replace failed | 3993xx | Moderate
MP patrol check error | 39b0xx | Service
LDEV Blockade (Effect of micro code error) | 3a0xyy | Moderate
Backup/restore SM Information failed | 6100xx | Moderate
CHB blocking | 2130xx | Moderate
DKB blocking | 2140xx | Moderate
CHB/DKB/CTL Type disagreement | 3c9500 | Moderate
No CHB mounted | 3c9600 | Moderate
iSCSI firmware update warning | 3c97xx | Moderate
Encryption key setting abnormality | 6620xx | Serious
SAS CTL blocking | cf10xx | Moderate
SAS PORT (WideLink) is partially blocked | cf11xx | Service
SAS PORT blocked | cf12xx | Moderate
SAS CTL Error Detection | cf13xx | Serious
ENC Temporary Failure | cf14xx | Service
PSW blockade | cf20xx | Moderate
NVMe port blockade | cf22xx | Moderate
CTL blocking | cf880x | Moderate
CTL blockade due to CTL interconnect path failure | cf8a0x | Moderate
LANB blocking | ff210x | Moderate
CTL patrol check error | ffcb0x | Service
CFM patrol check error | ffccxy | Moderate
GUM blocking | fff70x | Moderate
Injustice DC voltage control | 399d0x | Moderate
Injustice CEMODE | 399e0x | Moderate
Injustice CEDT | 399f0x | Moderate
Unjust jumper setting warning | af000x | Moderate
MP temperature abnormality warning | af100x | Moderate
External temperature warning | af110x | Moderate
External temperature alarm | af120x | Moderate
Thermal monitor warning | af130x | Moderate
DKCPSU warning | af200x | Moderate
DKCPS input voltage Abnormality | af210x | Moderate
Environmental microcomputer warning | af300x | Moderate
Storage system operation mode warning | af310x | Moderate
Environment FW update warning | af320x | Moderate
Abnormal voltage change setting | af330x | Moderate
BKM/BKMF warning | af400x | Moderate
Battery replacement should be scheduled | af410x | Moderate
CHBB environmental microcontroller warning | af42xx | Moderate
CHBB environmental firmware update warning | af44xx | Moderate
SWPK temperature warning | af46xx | Moderate
CHBB voltage change failure warning | af48xx | Moderate
CHBBPS warning | af4a0x | Moderate
CHBBPS abnormal input voltage | af4b0x | Moderate
CHBBFAN warning | af4c0x | Moderate
Panel switch warning | af4d0x | Moderate
Invalid PS ON warning | af4e0x | Moderate
DBPS warning | af50xx | Moderate
DBPS-1 warning | af51xx | Moderate
DBPS-2 warning | af52xx | Moderate
DBPS input voltage abnormality | af60xx | Moderate
DBPS-1 input voltage abnormality | af61xx | Moderate
DBPS-2 input voltage abnormality | af62xx | Moderate
DB External temperature Warning | af7000 | Moderate
DB External temperature Alarm | af7100 | Moderate
ENC warning | af80xx | Moderate
ENC-1 warning | af81xx | Moderate
ENC-2 warning | af82xx | Moderate
CHBB environmental firmware update started | afa0xx | Service
CHBB environmental firmware update is complete | afa1xx | Service
CHBB environmental firmware update was applied | afa2xx | Service
UPS failed | aff00x | Moderate
GUM warning | aff10x | Moderate
CFM Error | aff20x | Moderate
FAN warning | aff30x | Moderate
PCIe cable connection error | effcxx | Moderate
Expander error | effdxx | Moderate
UNIT connection cable order error | effexx | Moderate
Part Installation Error | ffd400 | Moderate
Battery warning | fffa0x | Moderate
Forced volatilization warning | fffe0x | Moderate
Pinned slot | ff4xyy | Moderate
Area is volatilized | ffcd0x | Service
Data restoration error in the module group | ffcfyx | Service
Cache correctable error | fff0xx | Service
Area blocking | fff40x | Serious
Both area failed | fff50x | Moderate
Replace failed | fff90x | Serious
Cache Battery is being charged | fe0000 | Serious
End of Cache Write Through | fe010x | Service
Start of Cache Write Through | fe020x | Moderate
CFM type error or CFM shortage | fe030x | Serious
Mounting Battery shortage | fe040x | Serious
DIMM Installation mismatch | ffe800 | Acute
Cache package blockade processing end | ffc30x | Service
SM area blocking | ffe20x | Serious
Replace failed | ffe40x | Serious
Rebooted with volatilization after an instantaneous down | ffe700 | Serious
Recovery of area blocked temporarily was completed | ffea0x | Service
Configuration information restore by backup failed | ffeb00 | Serious
Area temporary blocking | ffee0x | Service
Rebooted without volatilization after an instantaneous down | ffef00 | Service
Drive port temporary error | db0xxx | Service
Drive port temporary error | db1xxx | Service
Drive port temporary error | df6xxx | Service
Drive port temporary error | db2xxx | Service
Drive port temporary error | db3xxx | Service
Drive port temporary error | df7xxx | Service
Drive temporary error | efaxxx | Service
Drive temporary error | efbxxx | Service
Drive media error | 434xxx | Service
Drive media error | 435xxx | Service
Drive port blockade | db4xxx | Moderate
Drive port blockade | db5xxx | Moderate
Drive port blockade | df8xxx | Moderate
Drive port blockade | db6xxx | Moderate
Drive port blockade | db7xxx | Moderate
Drive port blockade | df9xxx | Moderate
LDEV blockade | db8xxx | Serious
LDEV blockade | db9xxx | Serious
LDEV blockade | dfaxxx | Serious
LDEV blockade | dbaxxx | Serious
LDEV blockade | dbbxxx | Serious
LDEV blockade | dfbxxx | Serious
Abnormal drive Link rate | dbcxxx | Serious
Abnormal drive Link rate | dbdxxx | Serious
Abnormal drive Link rate | dfcxxx | Serious
Abnormal drive Link rate | dbexxx | Serious
Abnormal drive Link rate | dbfxxx | Serious
Abnormal drive Link rate | dfdxxx | Serious
Response late Drive | dfexxx | Service
Response late Drive | dffxxx | Service
Drive blockade (drive) | eb0xxx | Serious
Drive blockade (drive) | eb1xxx | Serious
Drive blockade (drive) | ef0xxx | Serious
Drive blockade (drive) | eb2xxx | Serious
Drive blockade (drive) | eb3xxx | Serious
Drive blockade (drive) | ef1xxx | Serious
Drive blockade | eb4xxx | Service
Drive blockade | eb5xxx | Service
Drive blockade | ef2xxx | Service
Pinned slot creation | ef4xyy | Moderate
LDEV blockade (Effect of drive blockade) | ef8xxx | Serious
LDEV blockade (Effect of drive blockade) | ef9xxx | Serious
Correction access occurrence | eb6xxx | Serious
Correction access occurrence | eb7xxx | Serious
Correction access occurrence | efcxxx | Serious
Reboot suspension by the excessive write pending data | eb8xxx | Service
Reboot suspension by the excessive write pending data | eb9xxx | Service
Reboot suspension by the excessive write pending data | efexxx | Service
Drive blockade (media) | 43axxx | Serious
Drive blockade (media) | 43bxxx | Serious
Drive blockade (media) | 43cxxx | Serious
Drive blockade (media) | 43dxxx | Serious
Correction copy start | 451xxx | Service
Correction copy start | 4b6xxx | Service
Correction copy start | 4b7xxx | Service
Correction copy normal end | 452xxx | Service
Correction copy normal end | 4b8xxx | Service
Correction copy normal end | 4b9xxx | Service
Correction copy abnormal end | 453xxx | Serious
Correction copy abnormal end | 4baxxx | Serious
Correction copy abnormal end | 4bbxxx | Serious
Correction copy discontinued | 454xxx | Service
Correction copy discontinued | 4bcxxx | Service
Correction copy discontinued | 4bdxxx | Service
Correction copy warning end (With blockade LDEV or some error) | 455xxx | Service
Correction copy warning end (With blockade LDEV or some error) | 4bexxx | Service
Correction copy warning end (With blockade LDEV or some error) | 4bfxxx | Service
Dynamic sparing start (Drive copy) | 461xxx | Service
Dynamic sparing start (Drive copy) | 4c6xxx | Service
Dynamic sparing start (Drive copy) | 4c7xxx | Service
Dynamic sparing normal end (Drive copy) | 462xxx | Service
Dynamic sparing normal end (Drive copy) | 4c8xxx | Service
Dynamic sparing normal end (Drive copy) | 4c9xxx | Service
Dynamic sparing abnormal end (Drive copy) | 463xxx | Moderate
Dynamic sparing abnormal end (Drive copy) | 4caxxx | Moderate
Dynamic sparing abnormal end (Drive copy) | 4cbxxx | Moderate
Dynamic sparing discontinued (Drive copy) | 464xxx | Service
Dynamic sparing discontinued (Drive copy) | 4ccxxx | Service
Dynamic sparing discontinued (Drive copy) | 4cdxxx | Service
Dynamic sparing warning end (With blockade LDEV or some error) (Drive copy) | 465xxx | Service
Dynamic sparing warning end (With blockade LDEV or some error) (Drive copy) | 4cexxx | Service
Dynamic sparing warning end (With blockade LDEV or some error) (Drive copy) | 4cfxxx | Service
Collection Copy/Copyback disabled(drive replace) | 468xxx | Moderate
Collection Copy/Copyback disabled(drive replace) | 469xxx | Moderate
Drive Copy/Correction Copy delay | 46axxx | Moderate
Flash module drive initialization failed | 4c4xxx | Moderate
Flash module drive initialization failed | 4c5xxx | Moderate
Drive temporary error | 500xxx | Service
Drive temporary error | 501xxx | Service
Drive media error | 502xxx | Service
Drive media error | 503xxx | Service
Flash drive End of life | 50axxx | Service
Flash drive End of life | 50bxxx | Service
Flash module drive End of life | 50cxxx | Service
Flash module drive End of life | 50dxxx | Service
Flash module drive firmware version warning | 50f000 | Moderate
PECB blocking | 2153xx | Moderate
SWPK blocking | 2154xx | Moderate
PECB warning | 2157xx | Moderate
Expander microprogram replacement failure | 4a80xx | Moderate
PDEV Erase Start | 4c1xxx | Service
PDEV Erase Start | 4d6xxx | Service
PDEV Erase Start | 4d7xxx | Service
PDEV Erase Normal End | 4c2xxx | Service
PDEV Erase Normal End | 4d8xxx | Service
PDEV Erase Normal End | 4d9xxx | Service
PDEV Erase Abnormal End | 4c3xxx | Service
PDEV Erase Abnormal End | 4daxxx | Service
PDEV Erase Abnormal End | 4dbxxx | Service
External storage system connection device blockade | efd000 | Serious
Abnormal end of Write processing in External storage system | ef5xyy | Moderate
Abnormal end of Read processing in External storage system | ff5xyy | Moderate
Cache overload condition | 491000 | Service
Format complete | 4100xx | Service
Quick Format finish | 410100 | Service
Audit Log lost | 180000 | Moderate
Detected a specific error code | 1c0000 | Service
DB power off | ac50xx | Moderate
DB power recovered | ac51xx | Service
Controller Chassis was set to power errormode | ac6000 | Moderate
DKC was released from power error mode | ac6100 | Service
When Controller Chassis was set to power error mode, Urgent | ac6200 | Service
When Controller Chassis was set to power error mode, Urgent | ac6300 | Moderate
Server failure | ac8001 | Serious
License key has expired | 7ff7xx | Moderate
Allowed capacity was exceeded | 7ff8xx | Moderate
Program Product was invalidated due to expiration of premise Program Product | 7ff9xx | Moderate
CUDG detected error | 760000 | Moderate
TC started the initialcopy or out of sync for this volume | d00xyy | Service
TC completed the initial copy for this volume | d01xyy | Service
TC for this volume was deleted | d02xyy | Service
Status of the R-VOL is changed | d1zxyy | Service
TC for this volume was suspended (Due to an unrecoverable failure on the remote copy connections) | d40xyy | Serious
TC for this volume was suspended (Due to an unrecoverable failure on the M-VOL or the remote copy connections) | d41xyy | Serious
TC for this volume was suspended (Due to an unrecoverable failure on the R-VOL) | d42xyy | Serious
TC for this volume was suspended (Due to an internal error condition detected by the RCU) | d44xyy | Serious
TC for this volume was suspended (Caused by Delete pair operation was issued to the R-VOL) | d45xyy | Serious
The R-VOL has suspended (Due to an unrecoverable failure on the remote copy connections) | d46xyy | Serious
The R-VOL has suspended (Due to an unrecoverable failure on the R-VOL) | d47xyy | Serious
Status of the M-VOL was not consistent with the R-VOL | d4fxyy | Serious
Logical path(s) on the remote copy connections was logically blocked (Due to an error conditions) | 2180xx | Moderate
Differential area blocking (*1) | 4d1xyy | Serious
ShadowImage Copy abnormal end | 47dxyy | Moderate
Forcible suspend by SM volatile | 47e700 | Moderate
Volume Migration abnormal end | 47fxyy | Moderate
Forcible suspend by SM volatile | 47ec00 | Moderate
Thin Image Option abnormal end | 4b3xyy | Moderate
Warning for depletion of cache management devices | 670000 | Moderate
SI | 7ff102 | Service
TI | 7ff104 | Service
Volume Migration | 7ff106 | Service
Pool blocking | 602xxx | Moderate
Shared Memory Space Warning | 603000 | Moderate
Exceeded Threshold of actual pool use rate | 604xxx | Moderate
Actual pool use rate reaches upper limit | 605xxx | Moderate
Exceeded Fixed outage | 606xxx | Moderate
Shared Memory Full | 624000 | Moderate
DP Pool error is detected | 623xxx | Moderate
Shared Memory Full (DP) | 624000 | Moderate
DP Pool LDEV blockade | 627xxx | Serious
DP Protect attribute setting of Data Retention Utility | 628000 | Serious
Exceeded Warning Threshold of DP Pool use rate | 629xxx | Moderate
Actual DP Pool use rate reaches upper limit | 62axxx | Moderate
Threshold of DP Pool use rate remains exceeded | 62b000 | Moderate
Exceeded Depletion Threshold of DP Pool use rate | 62cxxx | Moderate
Exceeded Fixed outage | 62dxxx | Moderate
TI pair DP pool exceeded depletion threshold | 62exxx | Moderate
Auto pool expansion failed due to system error | 631xxx | Moderate
Auto pool expansion failed due to pool error | 632xxx | Moderate
Failed to create, expand, or delete pools | 633xxx | Moderate
Auto pool expansion failed due to no more LDEV IDs | 634xxx | Moderate
Tier relocation is not complete | 641xxx | Service
No free encryption key | 660100 | Moderate
Remaining free encryption key warning | 660200 | Service
Acquisition of encryption key from KMS failed | 6610xx | Moderate
A volume to be used by the UR was defined | d80xyy | Service
The volume being used by the UR began a copying | d81xyy | Service
The volume being used by the UR completed a copying | d82xyy | Service
The volume being used by the UR received a request for suspension | d83xyy | Service
The volume being used by the UR completed a suspension transaction | d84xyy | Service
The volume being used by the UR received a request for deletion | d85xyy | Service
The volume being used by the UR completed the deletion | d86xyy | Service
The volume being used by the UR was defined (placed in the PSUS status immediately) | d87xyy | Service
A Delta volume to be used by the URMF/UR was defined | d88xyy | Service
A Delta volume to be used by the URMF/UR was redefine | d89xyy | Service
A change to an S-VOL was received from the MCU | d9zxyy | Service
A change to an S-VOL was received from the RCU | dazxyy | Service
A volume being used by a P-VOL was suspended (Path recovery was impossible) | dc0xyy | Serious
A volume being used by a P-VOL was suspended (A failure on the MCU side was detected) | dc1xyy | Serious
A volume being used by a P-VOL was suspended (Suspension of an S-VOL failure was detected) | dc2xyy | Serious
A volume being used by a P-VOL was suspended (Suspension of an S-VOL was detected) | dc4xyy | Serious
A volume being used by a P-VOL was suspended (Deletion of an S-VOL pair was detected) | dc5xyy | Serious
A volume being used by an S-VOL was suspended (Path recovery was impossible) | dc6xyy | Serious
A volume being used by an S-VOL was suspended (A failure on the RCU side was detected) | dc7xyy | Serious
A volume being used by an S-VOL was suspended (P/ S OFF on the MCU side was detected) | dc8xyy | Service
A Delta volume being used by a P-VOL was suspended | dc9xyy | Service
Pair suspend (Spread by error of another Affiliate) | dcaxyy | Serious
UR M-JNL Meta FULL WARNING | dce0xx | Moderate
UR M-JNL Data FULL WARNING | dce1xx | Moderate
UR R-JNL Meta FULL WARNING | dce2xx | Moderate
UR R-JNL Data FULL WARNING | dce3xx | Moderate
The UR Read JNL was interrupted for one minute (A failure on the MCU side was detected) | dcf0xx | Moderate
The UR Read JNL was interrupted for five minutes (A failure on the MCU side was detected) | dcf1xx | Serious
The UR Read JNL was interrupted for one minute (A failure on the RCU side was detected) | dcf2xx | Moderate
The UR Read JNL was interrupted for five minutes (A failure on the RCU side was detected) | dcf3xx | Serious
A volume being used by a GAD was suspended(Due to an unrecoverable failure on the remote copy connections) | dd0xyy | Serious
A volume being used by a GAD was suspended (volume failure) | dd1xyy | Serious
A volume being used by a GAD was suspended(Internal error failure) | dd2xyy | Serious
In GAD, the P-VOL status was not consistent with the S-VOL status | dd3xyy | Serious
Quorum Disk Restore | dee0xx | Service
Quorum Disk Blocked | def0xx | Serious
dedupe and compression operation error detection | 6800xx | Moderate
Operation error of deduplication system data volume automatic deletion was detected. | 681xxx | Moderate
Deduplication system data volume automatic deletion was suspended. | 682000 | Moderate
Failure in a server registered by HSAE | 7c1xxx | Moderate
Volume I/O upper limit reached | ee0000 | Service
Volume I/O lower limit not reached | ee1000 | Service
Volume I/O response delay | ee2000 | Service